State of Florida

Department of Transportation

QUALITY ASSURANCE FOR MOBILE RETROREFLECTIVITY UNITS

State Materials Office

September 2022

INTRODUCTION

As part of the Pavement Marking Management System, the Florida Department of Transportation (FDOT) has developed a Quality Assurance document for the Mobile Retroreflectivity Unit (MRU) equipment and operators.  This document establishes a series of laboratory and field tests at the State Materials Office (SMO) located in Gainesville, Florida. The laboratory testing consists of a series of experiments that are conducted in a controlled environment (i.e., FDOT’s MRU calibration bay), and field evaluations will be conducted on a series of roadways in Alachua County, Florida, with various pavement markings and pavement types. This document also establishes data acceptance criteria for project and network levels to evaluate stripes surveyed by the Contractor to ensure reliable retroreflectivity data statewide. Table 1 are the laboratory and field-testing requirements to be followed by the MRU Contractor for collecting data for the Pavement Marking Management System. A detailed description of each test and data acceptance criteria is provided in the following sections.

Table 1. Summary Requirements of Laboratory and Field Quality Assurance Test

| Type of Test | Key Item Check | Required Criteria | Testing Frequency |
| --- | --- | --- | --- |
| Setup and Visual Inspection | Distance | Accurate 30-meter geometry ≥ 38" lateral data collection area ≤ 40" longitudinal variation | 65 days |
| Verification Test | RL | ±15.0% of certified RL values | 65 days |
| Background Noise Test | RL | ±5.0% of calibration panel | 1 Year |
| Equipment Dynamics | Lateral | RL | ±10.0% from the center position value | 65 days |
| DMI and GPS Accuracy | DMI (Mechanical) | Distance | ±0.1% (±5.280 feet) of a 1.0-mile surveyed section | 65 days |
|  | DMI (GPS-based) | Distance | ±0.2% (±10.560 feet) of a 1.0-mile surveyed section | 65 days |
|  | GPS | Position | ±10.0 feet of a surveyed point | 65 days |
| Precision Test | RL | ±10.0% for repeatability and ±15.0% for reproducibility This pertains to longitudinal pavement marking and RPM retroreflectivity and RPM counts | 65 days |
| Reflectivity Stability with Speed Test | RL | ±10.0% difference between two tests running at 35 mph and 55 mph | 1 Year |
| Reflectivity Stability with Temperature Test | RL | ±10.0% difference from two tests running at two different temperatures within the day | 1 Year |
| Operator Competency | RL | ±75 RL for the running mile comparisons between FDOT and the Contractor | 2 Years |

MRU equipment must be operated in accordance with Florida Test Method for Measuring Retroreflectivity of Pavement Marking Materials Using a Mobile Retroreflectivity Unit (FM5-600) and all retroreflectivity data must be reported according to FDOT Form 675-060-15.

LABORATORY TESTING

The following tests will be conducted to verify the performance of the MRU, data collection software, and operator(s) in a controlled environment:

- Equipment and Operator(s) Identification

- Setup and Visual Inspection

- Verification Testing

- Background Testing

- Equipment Dynamics

For these tests, the equipment must be warmed up to manufacturer recommendation and MRU calibrated or a system check performed prior to the quality assurance testing. A calibration or system check file, at time of file output, must be submitted.

Equipment and Operator(s) Identification

Equipment and operator(s) identification is necessary to document the MRU (retroreflective unit and vehicle), data collection software (computer and software), and operator/team conducting the retroreflective testing. Each of these components have a specific timeframe in which they remain valid. Anytime a component is altered or replaced, the Contractor must inform FDOT and verify that all quality assurance criteria are satisfied. The above equipment and operator(s) identification must be recorded once every 65 days or as considered necessary.

Setup and Visual Inspection

Setup and visual inspection is critical to ensure the equipment is operational by verifying all brackets, mounts, and bolts are tight and mounted securely around the exterior and interior of the equipment before calibration and routine operation. The retroreflectometer window must be inspected to make sure it is clean and clear of damage and/or debris. It is also good practice to inspect the optics to ensure they are clean and clear of damage and/or debris.

When using the MRU certified calibration standard(s), it must be inspected for damage, wear, and verified by a Department approved facility using photometric range equipment within a year prior to its use. The MRU operator will setup the calibration procedure. This process will be inspected by FDOT personnel to assure accuracy and proper 30-meter geometry in accordance with ASTM E-1710. The retroreflectometer laser power will be measured and recorded. The MRU must be capable of measuring a stripe at a minimum of 19.0 inches on either side of the center position at the proper geometry while the longitudinal variation should not exceed 40.0 inches. The above visual inspection of the MRU must be conducted once every 65 days or as deemed necessary.

The MRU can be calibrated, or a system check performed again if needed before continuing the quality assurance testing. The calibration or system check file, at time of file output, must be submitted.

Verification Testing

In order to determine if the accuracy of the RL values measured using the MRU are comparable to those from a Department approved photometric range system, a combination of pavement marking samples with RL values ranging approximately between 100 and 1,200 mcd/m2/lux will be tested. A stripe will be placed in front of the MRU and centered at proper geometry. A test shall be initiated and as the reading has stabilized, the RL value will be recorded. The pooled results of the MRU must not differ by more than ±15.0% of the sample RL values. The verification tests must be conducted once every 65 days or as deemed necessary.

Background Testing

Background testing is performed to ensure that environmental effects and other reflective materials are not influencing the RL values. The background testing must be conducted once every 365 days or as deemed necessary. The RL of the sample stripe should not vary by more than ±5.0% for the following tests:

- Baseline Test - A sample stripe will be placed in front of the MRU and centered at proper geometry. If needed, thresholds or filters should be applied at this time so that the MRU can collect accurate measurements without being influenced by background. An initial test shall be conducted and RL value will be recorded to establish a reference baseline.

- Increased Background Test - A new background material (e.g. white paper) will then be placed on both sides of the sample stripe.  A new test will be initiated and a new RL value will be recorded.

- Background Noise Test (1) – After the background material is removed, a retroreflective material (e.g. ceramic block) with a lower RL value (than sample stripe) will be placed and evaluated on either side of the sample stripe and RL values will be recorded.

- Background Noise Test (2) – After the previous material is removed, a raised pavement marker (RPM) with higher RL value (than sample stripe) will be placed and evaluated on either side of the sample stripe and RL values will be recorded.

Equipment Dynamics

An equipment test will be performed to simulate lateral dynamics to ensure the MRU is capable of collecting data at the various roadway geometries.  This test will verify the consistency of the retroreflectivity (RL) values as these geometries change.

Lateral Dynamics

Lateral Dynamics is a test performed to verify the MRU is within tolerance to allow minimum vehicle wander and maintain the RL value as the vehicle changes horizontal position across the pavement. A retroreflective sample will be placed in front of the MRU and centered at proper geometry. A test shall be initiated and as the reading has stabilized, the RL value will be recorded. The test will be stopped, and the stripe shall be repositioned horizontally. A new test will be initiated, and a new RL value will be recorded. This procedure will be repeated several times moving the sample in increments of 5.0 inches across the 38.0-inch minimum lateral data collection area. At any position along the horizontal path, the RL value shall not differ by more than ±10.0% of the average center readings. The lateral dynamics of the MRU must be tested once every 65 days or as deemed necessary.

FIELD TESTING

The following tests will be conducted to verify the performance of the MRU, data collection software, and operator(s) in a field environment:

- Distance Measuring Instrument and Global Positioning System Accuracy

- Precision Testing

- Retroreflective Stability with Speed

- Retroreflective Stability with Temperature

- Operator Competency

For these tests, the MRU can be calibrated or a system check performed again if needed before continuing the field testing. The calibration or system check file, at time of file output, must be submitted.

Distance Measuring Instrument and Global Positioning System Accuracy

The MRU must be equipped with a distance measuring instrument (DMI) or a Global Positioning System (GPS) to measure the distance traveled by the vehicle and location. The FDOT SMO designated a site to verify the precision of the MRU DMI and/or GPS. The DMI distance must be within ±10.560 feet (0.2%) for a GPS-based DMI and ±5.280 feet (0.1%) for a mechanical DMI when measuring a 1.0-mile section of roadway.  The GPS must be within an instantaneous horizontal positioning accuracy of ±10.0 feet or better. The DMI must be calibrated and GPS verified on a 65 day basis or earlier as deemed necessary at locations designated by FDOT. Additionally, if using a mechanical DMI, a DMI recalibration must be performed anytime tires are changed, rotated, or air pressure is adjusted.

Precision Testing

To achieve repeatable and reproducible measurements between different MRUs, the FDOT SMO designated multiple field sites to verify the precision of the MRU. The test sections consist of various pavement markings. The average pavement marking retroreflectivity for the test sections ranges from 100 to 800 mcd/m2/lux. These test sections are in close proximity to the SMO. The beginning and ending locations of these 1.0-mile sections are clearly marked with tape.

The Contractor’s MRU will perform three repeat runs on each test section at recommended test speeds. The pooled RL results of the contactor’s MRU from the test sections must not differ by more than ±10.0% for repeatability and ±15.0% for reproducibility when compared to FDOT’s reference data. This precision test must be conducted once every 65 days or earlier as deemed necessary.

Retroreflective Stability with Speed

MRU testing is conducted up to highway speeds, so it is important to verify the MRU results are not affected by vehicle speed. To verify this, one section of roadway designated by FDOT shall be tested at a minimum of 20 mph speed differential. The pooled RL results from the two tests should not differ by more than ±10.0%. This test shall be conducted once every 365 days or earlier as deemed necessary.

Retroreflective Stability with Temperature

The MRU uses advanced optic and electronic devices known to be sensitive to temperature changes. Temperature may affect the RL values if not properly addressed. This test is conducted to determine the long-term RL stability. Two separate tests will be conducted throughout the series of the field testing to verify the effects of ambient temperature on the MRU measurements. Additional MRU calibrations will not be allowed between the two tests. The pooled RL results from the two tests should not differ by more than ±10.0%. This test shall be conducted once every 365 days or earlier as deemed necessary.

Operator Competency

To ensure the Contractor’s MRU Operator(s) can safely and accurately operate the MRU, the FDOT SMO designated multiple field sites to verify the operator(s) ability to navigate the roadway with the MRU. These field tests will be conducted to evaluate the following factors:

- Proper use of event codes such as pavement changes, bridge, turn lanes, etc.

- Driver competency (e.g., vehicle wander, route planning, equipment setup)

- Proper identification of stripes to meet the FDOT striping nomenclature

- Ability to set RL thresholds for the Raised Pavement Markers (RPM)

- Proper handling of MRU during acceleration, braking, and stopping

For these tests, the MRU must be properly mounted and setup on the vehicle by the operator. The equipment must be warmed up to manufacturer’s recommendation and MRU calibrated or a system check performed prior to the operator competency testing. A calibration or system check file, at time of file output, must be submitted. These test sections are located in close proximity to the SMO. The FDOT will provide detailed roadway information for referenced sites including beginning and ending locations. The tests shall be conducted on roadways with various pavement types and markings selected by FDOT and may include the following:

- Stripe colors - Yellow and white

- Stripe patterns - Single solid, single skip, double solid, left solid/right skip, left skip/right solid, and/or edge line

- Stripe types - Thermoplastic, paint, tape, and/or audible

- Various ranges of retroreflectivity

- Pavement surface - Open and dense graded asphalt surfaces and rigid pavement surfaces

- Pavement colors – Light, medium, and/or dark (different levels of background noise)

The Contractor’s MRU will perform one run on each test section up to the posted speed limits. The results obtained by the Contactor’s MRU from the test sections must meet the criteria described below in the Project Level Quality Assurance. These field tests must be conducted once every two years or earlier as deemed necessary by the Department.

DATA ACCEPTANCE

The FDOT conducts independent Quality Assurance sampling of the stripes evaluated by the Contractor to ensure that the retroreflectivity data provided by the Contractor is reliable. The following data acceptance criteria will be applied to Contractor data to verify the performance of the MRU, data collection software, and operator(s) in the field:

- Project Level Quality Assurance

- Network Level Quality Assurance

FDOT will conduct comparison analysis on received data to ensure that it meets the required acceptance criteria. For these tests, the MRU may be mounted on either side of the vehicle. Calibration or system check file must be submitted upon request.

Project Level Quality Assurance Testing

FDOT will randomly sample the Contractor surveyed miles, for verification purposes. The Contractor’s data is compared to the FDOT data on a running mile average at 0.1-mile intervals.  Any running mile comparisons that disagree by more than ±75 RL must be retested by the Contractor. In addition, if the comparisons disagree for more than 30% of any roadway, the entire roadway must be retested. If the Contractor’s retest data compares to the FDOT, it is accepted. If not, the Contractor’s data will be evaluated at the Department’s discretion on a case-by-case basis for data acceptance.

Network Level Quality Assurance Testing

Network Level Quality Assurance Testing is a two-step process. FDOT will randomly sample a minimum of 10% of all Contractor surveyed miles, typically on a weekly basis, for verification purposes. This sampling must consist of at least 20 miles. The comparison will be based on a running mile average at 0.1-mile intervals.

Step 1 (Accept or Reject a Week of Data) - If the running mile comparisons (FDOT and Contractor) agree within ±95 RL for more than 70% of the miles surveyed, the network level data is accepted. If not, the Contractor’s data is rejected, and the Contractor must then resurvey 100% of the previous week mileage surveyed.

Step 2 (Verification of Data) - Once the data meets the Step 1 criteria, the following requirements are applied.  The Contractor’s data is compared to the FDOT data on a running mile average at 0.1-mile intervals.  Any running mile comparisons that disagree by more than ±75 RL must be retested by the Contractor. In addition, if the comparisons disagree for more than 30% of any roadway, the entire roadway must be retested. If the Contractor’s retest data compares to the FDOT, it is accepted. If not, the Contractor’s data will be evaluated at the Department’s discretion on a case-by-case basis for data acceptance.

RPM count and retroreflectivity data will be collected by the Contractor and reviewed for Quality Assurance by FDOT.  RPM count and retroreflectivity data must only meet the requirements of Laboratory and Field Quality Assurance Test in Table 1.

QUALITY ASSURANCE REQUIREMENTS

Prior to providing MRU services to FDOT, the Contractor must demonstrate that their MRU and operator(s) satisfy the laboratory and field quality assurance criteria described above. For times of dispute, the Department equipment will be considered as reference. In order to continue providing MRU services, the Contractor must conduct the quality assurance tests at the frequency designated for each respective test. Anytime a quality assurance criterion is not met, the Contractor must inform FDOT and take remedial action. The Contractor must also inform FDOT after remedial action has been implemented and again demonstrate that all quality assurance criteria are satisfied. The quality assurance tests that need to be repeated shall be determined by FDOT after reviewing the problem and the remedial action taken by the Contractor.  After the laboratory and field quality assurance testing is completed, the FDOT will inform the Contractor of the results. Documents will be provided to the Contractor that indicate the MRU (retroreflective unit, computer, software, and the vehicle) and operator/team satisfy all of the quality assurance criteria for a time period provided on the document. The FDOT will also conduct independent Quality Assurance sampling of the stripes evaluated by the Contractor to ensure that the retroreflectivity data provided by the Contractor is reliable. Comparison analysis on project and network levels will be conducted on received data to accept Contractor data.

|  |  |  |  |  |  |  |  |  |  | Box Serial No#: |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  | Test Date: |  |
| Vehicle, Equipment and Operator Identification |
| Operator 1 | Name |  |
| Operator 2 | Name |  |
| Vehicle | Year |  | Make |  | Model |  | Tag |  |
| Laser Identifcation | Make | N/A | Model |  | Serial Number |  |
| Calibration Panel | ID |  | RL Value | #N/A | Date Calibrated | #N/A |
| Box Certification | Annual Certification Date: | #N/A | Certified by: | #N/A |
| Software | Developer | Road Vista | Software Version |  |
| Laboratory Tests | Pass | Test Date | Expires |
| 1 | Brackets, mounts, and bolts are tight and mounted securely |  |  |  |
| 2 | Windows are clean and clear of damage and/or debris |  |  |  |
| 3 | Calibration panel(s) free of damage, wear, and certified within a year |  |  |  |
| 4 | Calibration setup and testing geometry conforms to ASTM E1710 |  |  |  |
| 5 | Laser power intensity is stable |  |  |  |
| 6 | Laser profile capable of ±19” from center and within 40’’ longitudinally |  |  |  |
| 7 | Verification of the various test panels within ±15% |  |  |  |
| 8 | Background does not influence RL values more than ±5% |  |  |  |
| 9 | Lateral dynamics within ±10% tolerance (allows for vehicle wander) |  |  |  |
| 10 | Verification of the various RPM test samples within ±15% |  |  |  |
| Field Tests | Pass | Test Date | Expires |
| 11 | Mechanical DMI within ±5.280 (0.1%) |  |  |  |
| 12 | GPS-based DMI within ±10.560 (0.2%) |  |  |  |
| 14 | Global Position System within ±10ft |  |  |  |
| 15 | Precision in terms of repeatability within ±10% |  |  |  |
| 16 | Precision in terms of reproducibility within ±15% |  |  |  |
| 17 | Retroreflective stability (change in speed) within ±10% |  |  |  |
| 18 | Retroreflective stability (change in temperature) within ±10% |  |  |  |
| Tests Performed: | Comments: |
| Precision Background Laboratory Temp DMI/GPS Speed |  |
| Inspection completed by: |  | Date: |  |
| Vendor signature: |  | Date: |  |
| Supervisor signature: |  | Date: |  |