## PIPE CULVERTS – REMOVAL OF EXISTING PIPE.

(REV 3-30-15) (7-20)

SUB-ARTICLE 430-12.2 is deleted and the following substituted:

**430-12.2 Removing Existing Pipe:** When existing pipe is removed and replaced with new pipe approximately at the same location, the cost of excavating and removing the old pipe and of its disposal will be included in the Contract unit price for the new pipe. No separate payment will be made.