INSPECTION AND MAINTENANCE.

(REV 6-14-00) (7-00)

SUBARTICLE 104-6.4.10.3 (Page 122). The first paragraph is deleted and the following substituted:




Inspect all erosion control features at least once every seven calendar days and within 24 hours of the end of a storm of 0.25 inch [6 mm] or greater. In addition, make a daily review of the location of silt fences in areas where construction activities have changed the natural contour and drainage runoff to ensure that silt fences are properly located for effectiveness.




Use a form acceptable to the Engineer to report all inspection findings and corrective actions taken as a result of the inspection. Sign each inspection report and submit it weekly to the Engineer.

