DRILLED SHAFTS – SLURRY AND FLUID IN EXCAVATION AT TIME OF CONCRETE PLACEMENT.

(REV 5-16-01) (7-01)

SUBARTICLE 455-15.8 (of the Supplemental Specifications) is deleted and the following substituted:

455-15.8 Slurry and Fluid in Excavation at Time of Concrete Placement:



455-15.8.1 Slurry: When slurry is used in an excavation, use only mineral slurry of processed attapulgite or bentonite clays. The Engineer will not allow polymer slurries. Use slurry having a mineral grain size such that it will remain in suspension and having sufficient viscosity and gel characteristics to transport excavated material to a suitable screening system. Use a percentage and specific gravity of the material to make the suspension sufficient to maintain the stability of the excavation and to allow proper placement of concrete. Ensure that the material used to make the slurry is not detrimental to concrete or surrounding ground strata. During construction, maintain the level of the slurry at a height sufficient to prevent caving of the hole. In the event of a sudden significant loss of slurry such that the slurry level cannot practically be maintained by adding slurry to the hole, delay the construction of that foundation until an alternate construction procedure has been approved.




Thoroughly premix the mineral slurry with clean fresh water prior to introduction into the shaft excavation. Ensure that the percentage of mineral admixture used to make the suspension is such as to maintain the stability of the shaft excavation. The Engineer will require adequate water and/or slurry tanks when necessary to perform the work in accordance with these Specifications. The Engineer will not allow excavated pits on projects requiring slurry tanks without the written permission of the Engineer. The Engineer will require adequate desanding equipment when shown in the Contract Documents. However, the Engineer will not require desanding equipment for drilled shafts installed under mast arms, cantilever signs, overhead truss signs, high mast light poles or other miscellaneous structures unless shown in the Contract Documents. Take the steps necessary to prevent the slurry from “setting up” in the shaft, including but not limited to agitation, circulation, and/or adjusting the composition and properties of the slurry. Provide suitable offsite disposal areas and dispose of all waste slurry in a manner meeting all requirements pertaining to pollution.




Provide a qualified professional soil testing laboratory approved by the Engineer to perform control tests using suitable apparatus on the mineral slurry mixture to determine the following parameters:





(a) Freshly mixed mineral slurry: Measure the density of the freshly mixed mineral slurry regularly as a check on the quality of the suspension being formed using a measuring device calibrated to read within ±0.5 lb/ft3 [±8 kg/m3].





(b) Mineral slurry supplied to the drilled shaft excavation: Perform the following tests on the mineral slurry supplied to the shaft excavation and ensure that the results are within the ranges stated in the table below:

	Non SI Units

	Item to be measured
	Range of Results at 68ºF
	Test Method

	Density
	64 to 73 lb/ft3
(in fresh water)

66 to 75 lb/ft3
(in salt water)
	Mud density balance:

FM 8-RP13B-1

	Viscosity
	28 to 40 seconds
	Marsh Cone Method:

FM 8-RP13B-2

	pH
	8 to 11
	Electric pH meter or pH

indicator paper strips:

FM 8-RP13B-4

	Sand Content
	4% or less
	FM 8-RP13B-3


	SI Units

	Item to be measured
	Range of Results at 20ºC
	Test Method

	Density
	1030 to 1170 kg/m3
(in fresh water)

1060 to 1200 kg/m3
(in salt water)
	Mud density balance:

FM 8-RP13B-1

	Viscosity
	28 to 40 seconds
	Marsh Cone Method:

FM 8-RP13B-2

	pH
	8 to 11
	Electric pH meter or pH

indicator paper strips:

FM 8-RP13B-4

	Sand Content
	4% or less
	FM 8-RP13B-3





The Contractor may adjust the limits in the above table(s) when field conditions warrant as successfully demonstrated in a Test Hole or with other methods approved by the Engineer. The Engineer must approve all changes in writing before the Contractor can continue to use them.




Perform tests to determine density, viscosity, and pH value to establish a consistent working pattern, taking into account the mixing process and blending of freshly mixed mineral slurry and previously used mineral slurry. Perform a minimum of four sets of tests to determine density, viscosity, and pH value during the first 8 hours mineral slurry is in use.




When the results show consistent behavior, discontinue the tests for pH value, and only carry out tests to determine density and viscosity during each four hours mineral slurry is in use. If the consistent working pattern changes, reintroduce the additional tests for pH value for the time required to establish consistency of the test values within the required parameters.





(c) Furnish reports of all mineral slurry tests required above, signed and sealed by a Specialty Engineer, representing the soil testing laboratory to the Department on completion of each drilled shaft.





(d) The Department may perform comparison tests as determined necessary during the mineral slurry operations.




During construction, maintain the level of mineral slurry in the shaft excavation within the excavation and at a level not less than 4 feet [1.2 m] above the highest expected piezometric water pressure along the depth of a shaft.




At any time the wet construction method of stabilizing excavations fails, in the opinion of the Engineer, to produce the desired final result, discontinue this method of construction, and propose modifications in procedure or alternate means of construction for approval.




Slurry testing before placement in the shaft is not required for drilled shafts installed under mast arms, cantilever signs, overhead truss signs, high mast light poles or other miscellaneous structures. Fluid testing is required for these drilled shafts as outlined in 455-15.8.2.



455-15.8.2 Fluid In Excavation At Time Of Concrete Placement: Prior to placing concrete in any shaft excavation including shafts under miscellaneous structures, ensure that heavily contaminated suspensions, which could impair the free flow of concrete from the tremie pipe, have not accumulated in the bottom of the shaft. Take samples of the fluid in the shaft from the base of the shaft and at intervals not exceeding 10 feet [3 m] up the shaft, using an approved sampling tool. Ensure that the density of the fluid in the shaft excavation prior to concreting is less than 75 lb/ft3 [1,200 kg/m3]. The Engineer will not require tests for pH and viscosity when mineral slurry is not used in the excavation. Ensure that projects that require desanding equipment have a sand content not greater than 4% as determined by FM 8-RP13B-3. Take whatever action is necessary to modify the fluid in the shaft excavation prior to placing the concrete to bring the fluid within the specification requirements.




When fluid is present in the hole, the applicable density test method and reporting requirements described in 455-15.8.1 apply to tests of fluid in the shaft prior to placing the concrete. When using mineral slurry such tests shall be performed by an approved soil testing laboratory engaged by the Contractor or by an experienced person furnished by the Contractor and approved by the Engineer. The Department may also perform comparison tests. Provide equipment for such comparison tests when requested by the Engineer.

