


HIGHWAY LIGHTING SYSTEM – METHOD OF MEASUREMENT.
(REV 1-22-10) (7-10)
ARTICLE 715-16(k) (of the Supplemental Specifications) is deleted and the following substituted:



(k) High Mast Lighting Pole Complete: The Contract unit price will include the pole, luminaires with lamps, lowering system, breakers, anchor bolts with lock nuts and washers, and foundation as indicated in the plans and the Design Standards.

