SP5600100

When weathering steel is used

COATING STRUCTURAL STEEL.

(REV 1-25-12) (2-12)
SUBARTICLE 560-1 (of the Supplemental Specifications) is deleted and the following substituted:

560-1 Description


Coat new structural steel in accordance with the requirements of this Section. Apply the coating system designated in the Contract Documents.

SUBARTICLE 560-9.7 (of the Supplemental Specifications) is deleted and the following substituted:

560-9.7 Stripe Coating: Apply stripe coats to achieve complete coverage and proper thickness on welds, corners, crevices, sharp edges, bolts, nuts, rivets, and rough or pitted surfaces. Stripe coating is not required for the inside surface area of all steel box girders.
