SS9850000

All Jobs


985
GEOSYNTHETIC MATERIALS.


(REV 9-2-14) (FA 9-10-14) (1-15)
SECTION 985 is deleted and the following substituted:

SECTION 985
GEOSYNTHETIC Materials
985-1 Description.

Geosynthetic materials are used for nonstructural and structural applications and shall be either geotextiles (woven or non-woven) or geogrids (woven or extruded) that are used for drainage, erosion control, reinforcement, separation or stabilization.
985-2 Materials.


985-2.1 General Requirements: Unless restricted in the Plans or Specifications, the geosynthetic material shall be a woven, non woven or extruded material consisting of long-chain polymeric filaments or yarns such as polypropylene, polyethylene, polyester, polyamides or polyvinylidene chloride formed into a stable network such that the filaments or yarns retain their relative position to each other. The base plastic shall contain stabilizers and/or inhibitors to make the filaments resistant to deterioration due to ultra-violet light, heat exposure and potential chemically damaging environment. The edges of the material shall be selvaged or otherwise finished to prevent the outer yarn from pulling away from the material and shall be free of any treatment which may significantly alter its physical properties. 

985-2.2 Physical Requirements: Each geosynthetic material shall be tested by an independent third party in accordance with the following methods as they apply to the specific application type. All testing and reported values, except apparent opening size (AOS), are to be minimum average roll values in the weakest principle direction unless indicated otherwise in this Section. Values for AOS are maximum average roll values.

	Geotextile Selection

	In-situ Soil Types

% passing a No. 200 Sieve*
	Class for Type D1, D2, D3 Materials
(see Table 1.1)

	< 15%
	a

	15% to 50%
	b

	> 50%
	c

	> 50% with Plastic Index >7
	d

	*as per AASHTO T88.


	Table 1.1
Drainage Geotextiles
Test Methods and Requirements for Types D-1, D-2 and D-3

	Property/Test Method
	D-1
	D-2
	D-3

	Minimum Permittivity (Sec - 1)

per ASTM D4491
	D-1a = 0.7

D-1b = 0.2
D-1c = 0.1
D-1d = 0.1
	D-2a = 0.7

D-2b = 0.2
D-2c = 0.1
D-2d = 0.1
	D-3a = 0.5

D-3b = 0.2
D-3c = 0.1

D-3d = 0.1

	Maximum AOS (US Sieve No.)

per ASTM D4751
	D-1a = 40

D-1b = 60
D-1c = 70
D-1d = 50
	D-2a = 40

D-2b = 60
D-2c = 70
D-2d = 50
	D-3a = 40

D-3b = 60
D-3c = 70
D-3d = 50

	Minimum Grab Tensile Strength (lbs)
per ASTM D4632
	315
	Woven Monofilament = 248

Other Woven Geotextiles:
Elongation <50% = 315

Elongation >50% = 203
	Elongation <50% = 248

Elongation >50% = 158

	Minimum Sewn Strength (lbs)
per ASTM D4632
	283
	Woven Monofilament=223

Other Woven Geotextiles:
Elongation <50% = 283

Elongation >50% = 182
	Elongation <50% = 223

Elongation >50% = 142

	Minimum Puncture Strength (lbs)

per ASTM D6241
	618
	Woven Monofilament = 495

Other Woven Geotextiles:

Elongation <50% = 618

Elongation >50% =  433
	Elongation <50% = 495

Elongation >50% = 309

	Minimum Trapezoidal Tear (lbs)
per ASTM D4533
	113
	Woven Monofilament = 57

Other Woven Geotextiles:

Elongation <50% = 113

Elongation >50% = 79
	Woven
Monofilament = 57
Other Geotextiles:
Elongation <50% = 90

Elongation >50% = 57

	Minimum UV Resistance

per ASTM D4355
(% Retained Strength)
	50% @500 hours
	50% @500 hours
	50% @500 hours

	Limitations
	Woven Monofilament Geotextiles only
	Woven Geotextiles only.

No Slit Film Geotextiles allowed.
	No Slit Film Geotextiles allowed.


	Table 1.2
Test Methods and Requirements for Drainage Geotextiles
Types D-4/6 and D-5

	Property/Test Method
	D-4/6
	D-5

	Minimum Permittivity (Sec-1) per ASTM D4491
	0.5
	0.5

	Maximum AOS (US Sieve No.) per ASTM D4751
	40
	40

	Minimum Grab Tensile Strength (lbs) per ASTM D4632
	180
	180

	Minimum Sewn Strength (lbs) per ASTM D4632
	162
	162

	Minimum Puncture Strength (lbs) per ASTM D6241
	223
	223

	Minimum Trapezoidal Tear (lbs) per ASTM D4533
	35
	40

	Minimum UV Resistance per ASTM D4355

(% Retained Strength)
	50% @500 hours
	50%@500 hours


	Table 2

Test Methods and Requirements for Erosion Control Materials

	Property/Test Method
	E-1
	E-2
	E-3
	E-4
	E-5

	Permittivity (Sec -1)
per ASTM D4491
	0.05
	0.05
	
	
	

	Grab Tensile Strength (lbs) per ASTM D4632
	90
	90
	
	
	

	Minimum UV Resistance

per ASTM D4355
(% Retained Strength)
	80% @500 hours
	80% @150 hours
	80% @500 hours

	Wide Width Tensile Strength **(lbs/in)

per ASTM D6818
	
	
	11.4 x 5.7
	22.8 x 11.4
	45.7 x 22.8

	Filtration Efficiency (%)
per ASTM D5141
	75% and min. flow rate of 0.3 gal/sf/min
	
	
	
	

	Design Shear***
	
	
	≥2.1 psf
	≥3.6 psf
	≥5.0 psf

	  ** Wide Width Tensile Strength is expressed in units of measure of lbs/in, in machine direction and cross direction as MD x CD.

*** Design Shear limits for Erosion mats must be determined by 30 minutes sustained flow in an unvegetated state as determined by tests performed by Utah State University, Texas Transportation Institute or an independent testing laboratory approved by the State Drainage Engineer.


	Table 3

Test Methods and Requirements for Structural Geosynthetics

	Property/Test Method
	Structural Application Type
	Test Methods for Woven Geotextiles
	Test Methods for Woven or Extruded Geogrids

	Permittivity (sec-1)
	R - 1, 2, 3, 4, 5
	ASTM D4491
	

	UV Stability

(Min Retained Strength @500 hr)
	R - 3
	ASTM D4355
	ASTM D4355

	Puncture Strength (lbs)
	R - 5
	ASTM D6241
	

	Grab Strength (lbs)
	R - 5
	ASTM D4632
	

	Opening Size
	R - 1, 2, 3, 4, 5
	AOS (US Sieve No.) ASTM D4751
	Aperture Size

(in x in)

	Tensile Strength (lbs/ft)
	ASTM D4595
	ASTM D6637

	Machine Direction Ultimate, (Tult)
	
	

	2% Strain
	R - 1, 3
	
	

	5% Strain
	R - 2, 3, 4, 5
	
	

	10% Strain
	R - 1, 2, 3, 4, 5
	
	

	Cross Direction Ultimate
	
	

	2% Strain
	R - 1, 2, 3, 4, 5
	
	

	5% Strain
	R - 1, 2, 3, 4, 5
	
	

	10% Strain
	R - 1, 2, 3, 4, 5
	
	

	Strain @ Ultimate Tensile Strength
	R - 1, 2, 3, 4, 5
	
	

	Tear Strength (lbs)
	ASTM D4533
	

	Machine Direction
	R - 5
	
	

	Cross Direction
	R - 5
	
	

	Soil-Geosynthetic Friction
	R - 1, 2, 3
	ASTM D6706
	ASTM D6706

	Creep Resistance-Tcreep (lbs/ft)
	R - 2, 3, 4
	ASTM D5262
	ASTM D5262

	Creep Reduction Factor (Tult/Tcreep)
	R - 2, 3, 4
	
	

	Installation Damage (RFc)
	GRI: GT7
	GRI: GG4(a) & GG4(b)

	Sand
	R - 2, 3, 4
	
	

	Limestone
	R - 2, 3, 4
	
	

	Durability (RFd)
	
	

	Chemical
	R - 2, 3, 4
	GRI: GT7
	GRI:

GG4(a) & GG4(b)

	Biological
	R - 2, 3, 4
	GRI: GT7
	GRI:

GG4(a) & GG4(b)

	Joint Strength (RFj)
	
	

	Mechanical
	R - 2, 3
	GRI: GT7
	GRI:

GG4(a) & GG4(b)

	Sewn
	R - 2, 3
	ASTM D4884
	



985-2.3 Overlaps and Seams: Overlaps shall be in accordance with the manufacturer’s recommendations unless specified otherwise in the Contract Documents for a particular application. To reduce overlaps, the geosynthetic material may be sewn together in accordance with the manufacturer’s recommendations. Sew the seams with thread meeting the chemical requirements and minimum seam strength requirements in Tables 1.1, 1.2 and 3.


985-2.4 Packaging and Labeling: Geosynthetics shall be packaged in a protective covering sufficient to protect the material from temperatures greater than 140 F, sunlight, dirt, and other debris during shipment and storage. The manufacturer’s name, product name, style number, roll dimensions and LOT numbers must be clearly labeled on all packaging.

985-3 Product Acceptance and Certification.


985-3.1 Product Acceptance: All geosynthetic materials shall be one of the products listed on the Department’s Approved Product List (APL). Manufacturers seeking evaluation of products must submit an application in accordance with Section 6 and include independently certified test reports that the material meets the physical requirements of this Section. Products will be listed on the APL according to geosynthetic application type. Structural geosynthetics are listed with property values.

985-3.2 Certification: The Contractor shall provide the Engineer a certification from the manufacturer confirming that the material meets the requirements of this Section and is appropriate for the intended use. The manufacturer shall also provide two 8 inch by 10 inch samples of the geosynthetic material for product identification. The manufacturer’s certification shall be attested to by a person having legal authority to bind the manufacturing company.


The manufacturer shall maintain test records as required by this Specification and these records shall be made available to the Department upon request.
985-4 Applications.


985-4.1 Nonstructural:


985-4.1.1 Drainage: Select geotextile materials that meet the required permeability and AOS based on test results on the soil or fill adjacent to the geotextile for gradation. Materials for drainage applications must be tested in accordance with and meet the physical requirements in 985-2.2, Table 1.1. 
	Drainage Applications

	Geotextile Type
	Description
	Design Standards Index No.

	D-1
	Revetment (Special)
	

	D-2
	Revetment (Standard)
	

	
	Articulating Block
	

	
	Gabions
	281

	
	Rock, Rubble, and Broken Concrete
	

	
	Ditch Pavement (Rubble Riprap)
	281

	
	Joint Cover for Mechanically Stabilized Retaining Wall Supporting Spread Footing Foundations
	

	D-3
	Underdrain
	286

	
	French Drain
	285

	
	Sheet Piling  Filter
	

	
	Filter Fabric Jacket (Culvert)
	280

	
	Concrete Pavement Subdrainage
	287

	D-4/6
	Slope Pavement
	

	
	Ditch Pavement (Sand-Cement Riprap or Concrete)
	281

	D-5
	Mechanically Stabilized Retaining Wall (Joint Cover)
	548

	
	Cast-In-Place Retaining Wall
	




985-4.1.2 Erosion Control: Materials used for erosion control applications must be tested in accordance with and meet the physical requirements in 985-2.2, Table 2.
	Erosion Control Applications

	Type
	Description

	E-1
	Staked Silt Fence

	E-2
	Wind Screen

	E-3
	Plastic Erosion Mat (Turf Reinforcement Mat) (Type 1)

	E-4
	Plastic Erosion Mat (Turf Reinforcement Mat) (Type 2)

	E-5
	Plastic Erosion Mat (Turf Reinforcement Mat) (Type 3)



985-4.2 Structural:



985-4.2.1 Reinforcement, Separation and Stabilization: Materials for reinforcement, separation and stabilization applications must be tested in accordance with and meet the physical requirements in 985-2.2, Table 3.
	Reinforcement, Separation and Stabilization Applications

	Type
	Description

	R-1
	Geosynthetic Reinforced Soil (GRS)

	R-2
	Reinforcement of Foundations over Soft Soils

	R-3
	Steepened Slopes

	R-4
	Reinforced Embankment

	R-5
	Construction Expedient


