[image: image1.jpg]



Florida Department of Transportation
	RICK SCOTT
GOVERNOR
	605 Suwannee Street
Tallahassee, FL  32399-0450
	MIKE DEW
SECRETARY



M E M O R A N D U M

DATE:
May 18, 2018
TO:

Catherine Earp
FROM:
Debbie Toole, Specifications Development Coordinator
SUBJECT:
Proposed Specification: 5140000 Plastic Filter Fabric (Geotextile).

Comments received, regarding the subject modification to the Standard Specifications, are attached. Please review these comments and advise of any further modifications by 
June 1, 2018. You may respond to the comments within the document below. The comments and responses will be posted on the State Specifications Office Web Page and included in the Specifications folder for future reference, should someone question your response. Your assistance will be appreciated.


Please email submittals to deborah.toole@dot.state.fl.us.

Attachment

PLASTIC FILTER FABRIC (GEOTEXTILE).

(REV 4-10-18)

SECTION 514 is deleted and the following substituted:
SECTION 514
FILTER FABRIC (GEOTEXTILE)

514-1 Description.


Install a filter fabric.

514-2 Material.


Meet the filter fabric requirements as specified in Section 985.

514-3 Construction Methods.


514-3.1 General: Place the filter fabric (fabric) in the manner and locations as shown in the Plans, in accordance with the manufacturer’s directions, and as specified in these Specifications. Place the fabric on areas with a uniform slope that are reasonably smooth, free from mounds, windrows, and any debris or projections which might damage the fabric.



Loosely lay the material. Do not stretch the material. Replace or repair any fabric damaged or displaced before or during placement of overlying layers to the satisfaction of the Engineer and at no expense to the Department.



When overlapping is necessary, the Contractor may sew the seams to reduce overlaps as specified in 985-3.



Schedule work so that covering the fabric with the specified material does not exceed the manufacturer’s recommendations for exposure to ultraviolet light or five days, whichever is less. If the Engineer determines the exposure time was exceeded, the Contractor shall replace the fabric at no expense to the Department.


514-3.2 Subsurface Drainage: When indicated in the Plans, place the fabric with the long dimension parallel to the trench. Place the fabric to provide a minimum 12 inch overlap for each joint. Do not drop the filter material from heights greater than 3 feet.


514-3.3 Stabilization and Reinforcement: Overlap adjacent strips of fabric a minimum of 24 inches.


514-3.4 Riprap Filter: Overlap adjacent strips of fabric a minimum of 24 inches, and anchor them with securing pins (as recommended by the manufacturer) inserted through both strips of fabric along a line through the midpoint of the overlap and to the extent necessary to prevent displacement of the fabric.



Place the fabric so that the upstream (upper) strip of fabric overlaps the downstream (lower) strip.



Stagger vertical laps a minimum of 5 feet. Use full rolls of fabric whenever possible in order to reduce the number of vertical laps.



Do not drop bedding stone or riprap from heights greater than 3 feet onto the fabric.

514-4 Basis of Payment.


No separate payment will be made for the work specified in this Section. The cost of furnishing, placing, and sewing or overlapping the fabric will be included in the Contract price for the items to which it is incidental.

5140000 PLASTIC FILTER FABRIC (GEOTEXTILE)
COMMENTS FROM INTERNAL/INDUSTRY REVIEW

Katey Earp

414-4171

catherine.earp@dot.state.fl.us
Comments: (4-19-18)

514-3.3 change 24-inches to 36-inches per conversation with Larry Jones.
Response: (Katey, you sent this after we posted to Industry Review. We will make the change before sending to FHWA.)
******************************************************************************

Gene Giambra

813-975-6110

eugene.giambra@dot.state.fl.us
Comments: (4-19-18)

Remove PLASTIC from the section header.
Response: In accordance with the Spec processing procedure, this will be done when the revision is approved and implemented.

No change made.
******************************************************************************

[image: image1.jpg]